Contents of Biotechnology Kit 2

2 Hexagel electrophoresis tanks

12  7 x 7 cm gel trays

12 6-tooth gel combs

24 rubber end caps

1 DuoSource power supply + mains cable

1 microcentrifuge

8 Biorad micropipettes

4 Starpet pipettes (2 x 2-20ul, 2 x 20-200ul)

3 Gilson pipettes (P2, P10, P200)

1 set of notes ‘Principles and Practice of Agarose Gel Electrophoresis’