TSN LogIT Explorer Multipurpose Datalogging & Control Kit (Datalogging Kit 6)

Contents of Kit

- 1 x LogIT Explorer (batteries included)

- 2 x temperature probes

- 1 x pulse monitor unit

- 1 x pulse finger/ear clip

- 1 x pH electrode

- 1 x voltage probe

- 1 x heat detective

- 1 x fibreoptic cable

- 1 x blue USB cable

- 1 x small screwdriver

- 1 x Controller Set (controller board, motor, fan, bulb+holder, buzzer, 2 crocodile clip leads)

- 1 x CD

- 1 x license sheet with activation codes

- 1 x software instruction manual

- 1 x LogIT Explorer handbook

- Instruction booklets for temperature, pH, pulse, voltage and heat detector probes + Controller Set

This equipment was generously donated to TSN by DCP Microdevelopments